## Outreach Swab Chart
Saint Francis Medical Center
Swab and Stool Collection/Transport Media Chart
Type of Swab or Transport Media | Tests that can be performed with the swab | Specimen Stability
E-swab (small, white) Product ID #: R220245 (white) | Aerobic culture (Aerobic only Lab897) preferred | 48hrs room temp (20-25C), or refrigerated (4-8C)
| Aerobic/Anaerobic (Lab7701) preferred | 48hrs room temp (20-25C), or refrigerated (4-8C) **Reject refrigerated specimens for anaerobic culture**
| Cipro culture (Lab3105) preferred | 48hrs room temp (20-25C), or refrigerated (4-8C)
| Group A Strep culture only (Lab927) preferred | 48hrs room temp (20-25C), or refrigerated (4-8C)
| Group B Strep Culture (Lab910) preferred | 72hrs refrigerated (4-8C)
| Group A strep by PCR (Lab7330) preferred | 48hrs room temp (20-25C), 6 days refrigerated (4-8C)
| VRE culture (Lab923) preferred | 48hrs room temp (20-25C)
| MRSA culture (Lab912) preferred | 48hrs room temp (20-25C)
| Neisseria Gonorrhoeae (Lab909) preferred | 24hrs room temp (20-25C)
| Yeast Culture (Lab925) preferred | 48hrs room temp (20-25C)
| TB Culture (Lab920) preferred | Transport to lab ASAP. Refrigerate (4-8C) if transport to lab is delayed by >1hr. Note: if a smear is ordered, that cannot be done off the Eswab and a liquid stuart swab should be utilized instead
| Fungus culture (Lab908) preferred | 48hrs room temp (20-25C), or refrigerated (4-8C)
| Nocardia Culture MAYO (CTB) | 7 days refrigerated (4-8C)
| Ureaplasma culture MAYO (Lab 2289) | 7 days refrigerated (4-8C)
Stuart swab, single (clear/white) Product ID #: 220099 Stuart swab, double (red) Product ID #: 220109 | Aerobic culture (Lab897) (not preferred) | 48hrs stored at 5-25C
| Group B Strep Culture (Lab910) | 72hrs refrigerated (4-8C)
| Cipro Culture (Lab3105) | 48hrs room temp (20-25C), or refrigerated (4-8C)
| Rapid Strep A Screen with Neg conf. (Lab1548) | 24hrs room temp (20-25C) or 48hrs refrigerated (4-8C)
| Group A Strep Culture (Lab927) | 72hrs room temp (20-25C) or refrigerated (4-8C)
| VRE culture (Lab923) | 24hrs room temp (20-25C)
| MRSA culture (Lab912) | 24hrs room temp (20-25C)
| MRSA Nasal by PCR (Lab1294) | 24hrs room temp (20-25C), 7 days refrigerated (4-8C)
| Yeast Culture (Lab925) | 48hrs room temp (20-25C)
| Cystic Fibrosis culture (Lab4607) | 24hrs room temp (20-25C), or refrigerated (4-8C)
| TB Culture (Lab920) | Transport to lab ASAP. Refrigerate (4-8C) if transport to lab is delayed by >1hr. Note: a smear can be done off this sample.
| Fungus culture (Lab908) | Sumbit to lab ASAP at room temp.
| Mycoplasma Pneumoniae DNA by Molecular (Lab8400) | Refrigerate or room temp. Test within 2 months.
| Ureaplasma culture MAYO (Lab 2289) | 7 days refrigerated (4-8C)
Cobas PCR media Urine Product ID#: 05170486190 Cobas PCR media Swab Product ID#: 07958021190 | Chlamydia/GC (LAB826) (Unisex urine swab only <12yrs) | Urine is stable for 24 hours at 2-8C Once urine is transferred to Cobas Urine tube, specimen is stable for 12 months at 2-30C Cobas swab is stable for up to 12 months at 2-30C
Once urine is transferred to Cobas Urine tube, specimen is stable for 12 months at 2-30C
Cobas swab is stable for up to 12 months at 2-30C
Amies with charcoal (black) Product ID #:220121 | Group B Strep Culture (Lab910) preferred | 72hrs refrigerated (4-8C)
| VRE culture (Lab923) | 24hrs room temp (20-25C)
| MRSA Culture (Lab912) | 24hrs room temp (20-25C)
| Yeast Culture (Lab925) | 24hrs room temp (20-25C), or refrigerated (4-8C)
| Neisseria Gonorrhoeae (Lab909) | 24hrs room temp (20-25C)
Various Viral Transport Media: M6 transport media OR Viral Transport media OR Universal Transport Media Product ID #: 220526 (FLU, RSV, & RESPA swabs & UTM kits (red top) Product ID #: R12587 (M4RT Transport Media) | RSV, Molecular (Lab8475) | 8hrs room temp (20-25C), 24hrs refrigerated
| Respiratory pathogen array (Lab2944) | 72hrs refrigerated (4-8C). Testing must occur within 72 hours of collection.
| Bordetella pertussis PCR (Lab1827) | 7 days refrigerated (4-8C). Transport on ice.
| Herpes simplex virus, PCR, varies MAYO (Lab7790) | 7 days refrigerated (4-8C)
| RSV,SARS-COV-2,FLU A/B PCR (Lab7172) | 24hrs room temp (20-25C), 7 days refrigerated (4-8C)
| Ureaplasma culture MAYO (Lab 2289) | 7 days refrigerated (4-8C)
| Influenza A/B by Molecular (LAB8477) | 8hrs room temp (20-25C), 24hrs refrigerated
| Sars-CoV-2 by Molecular (LAB7069) - PCR Method only | 8hrs room temp (20-25C), 7 days refrigerated (4-8C)
| Xpert TV Test (Aptima tubes not acceptable) (Lab8411) | 4hrs room temp (20-25C), 4 days refrigerated (4-8C) without preservative
Xpert TV Collection Kit Swab or Urine Product ID #: 10317920 (Urine) Product ID #: 10317919 (Swab) |  | 14 days room temp (20-25C), 28 days refrigerated (4-8C) with preservative
*Not for use in Chlamydia/GC Probe Testing
| Vaginitis Panel, Molecular (Lab1783) | 21 days room temp (20-25C), transort at room temp. *Not for use in Chlamydia/GC or TV probe testing
BD Max: Molecular Swab Collection Kit Product ID #: 443925 | Stool culture (Lab1766) | 4 days room temp (20-25C) or refrigerated (4-8C)
Carey-Blair Media Product ID#: 23038064 | Gastrointestinal Pathogen Array (Lab5003) | 4 days room temp (20-25C) or refrigerated (4-8C)
| Giardia (SFMC Only)(Lab1514) | Refrigerate (4-8C) or freeze (-20 to -70) within 1 week of collection
| Crypto (SFMC Only)(Lab1517) | Refrigerate (4-8C) or freeze (-20 to -70) within 1 week of collection
*Ensure the stool is filled to the line indicated on the container.
* Stools will be rejected each time they are not filled to the line.
| Stool culture (Lab1766) preferred - SFMC only | Ensure stool is filled between minimum and maximum fill lines.
Copan Fecal Swab (SFMC ONLY) Product ID#: R723487 | Giardia (Lab1514) | Room temp (20-25C) or refrigerate (4-8). Test within 2 months.
10% formalin, MF or SAF fixatives | Crypto (Lab1517) | Room temp (20-25C) or refrigerate (4-8). Test within 2 months.
| Ova and Parasites (SFMC Only) (Lab8447) | 21 days room temp (20-25C) or refrigerated.
Ova and Parasites Media (Green top) Para-PAK Ecofix specimen collection system Product ID#: MCL Supply T790
*Ensure the stool is filled to the line indicated on the container. Do not fill above the line.
* Stools will be rejected each time they are not filled to the line.
*10% buffered formalin-preserved specimens submitted without an accompanying Zn PVA-preserved specimen will be canceled.
| Immunoassay Fecal Occult Blood (Lab1317) | 8 days room temp (20-25C), 6 months refrigerated (4-8C)
IFOB Product ID#: 20196
Collect samples at home/office according to instructions provided and send back to laboratory
| C. Difficile by PCR (Lab1829) | 24hrs room temp (20-25C), 5 days refrigerated (4-8C) *Formed stool will be rejected.
Fresh stool Product ID#: DYND30510 (stool cups) | Body Fluid, Potassium (K) (Lab778) | Test or refrigerated within 4 hours. Formed stool will be rejected.
| Body Fluid, Sodium (Na) (Lab779) | Test or refrigerated within 4 hours. Formed stool will be rejected.
| Stool, Fat Screening (Lab1518) | Refrigerate within 40 minutes and test within 24 hrs.
| Giardia (Lab1514) | Refrigerate and test within 48hrs
| Crypto (Lab1517) | Refrigerate and test within 48hrs
| 48 hr or 72 hr Fecal fat testing MAYO (Lab1916) | Use Mayo collection containers only and fill per the requirements found here.
Stool Containers - 24, 48, 72 Hour Kit Product ID#: MCL Supply T291
Product ID#'s can be found here. Be sure to choose the correct supply form for your facility.